# Modality Classification & Data Profiling for BioDataMine

## 1. Problem Context

BioDataMine aims to understand and profile medical imaging datasets before model training. While DICOM images expose modality via metadata, non-DICOM formats (PNG/JPG/NIfTI) lack this information. Therefore, modality must be inferred, not read.

The key distinction: - DICOM → rule-based (metadata) - Non-DICOM → learned inference + profiling

The objective is data profiling, not just hard classification.

## 2. Why Modality Classification Is Non-trivial

There is no universal pretrained model that directly maps arbitrary medical PNG/JPG images to modality labels (CT, MRI, US, etc.). Existing medical models are: - Modality-specific - Anatomy- or task-specific - Designed for diagnosis, not metadata inference

Thus, a compositional approach is required.

## 3. EfficientNet-B3 + RadImageNet: What This Means

### EfficientNet-B3

- ~12M parameters, 300×300 input

- Good balance between capacity and efficiency

- Strong texture sensitivity (important for US speckle, CT contrast)

### RadImageNet Pretraining

RadImageNet is analogous to ImageNet but for radiology. It provides: - Modality-aware low- and mid-level features - Strong inductive bias for CT, MRI, X-ray, Ultrasound

Important: RadImageNet is not a ready-made modality classifier. It is a pretraining resource, not a turnkey inference model.

## 4. Why You Cannot Use RadImageNet Directly

- No universal classifier head: RadImageNet models are feature extractors.

- Label mismatch: RadImageNet label space ≠ BioDataMine modality taxonomy.

- Domain mismatch: Research PNGs, Kaggle datasets, screenshots differ from curated clinical images.

- Overconfidence risk: Pretrained-only models lack calibration and “unknown” handling.

Correct usage:

RadImageNet weights → backbone initialization → custom head → fine-tuning

## 5. Fine-tuning on PNG Slices

### Data

- PNG/JPG slices with known modality labels (bootstrapped from DICOM or public datasets)

- Folder structure by modality

### Preprocessing

- Grayscale → 3-channel

- Per-image normalization (avoid ImageNet mean/std)

- Resize to 300×300

### Training Strategy

- Freeze backbone, train classifier head

- Unfreeze last blocks, fine-tune with low learning rate

- Output probabilities, not hard labels

## 6. Shift in Goal: Data Profiling (Not Just Classification)

Profiling answers: - What modalities exist in this dataset? - Are multiple modalities mixed? - How confident are we? - Which samples are outliers?

This changes the model priorities: - Representations > classifiers - Soft probabilities > hard labels - Dataset-level summaries > per-image predictions

## 7. Best Models for Modality Profiling

### 7.1 DINOv2 (Self-supervised ViT) — Ideal for Profiling

- Learns structure without labels

- Modalities cluster naturally in embedding space

- Excellent for:

  - Dataset visualization

  - Out-of-distribution detection

  - Mixed-modality discovery

Usage:

image → embedding → clustering → weak labeling

### 7.2 RadImageNet-pretrained CNN (Feature Extractor)

- Strong radiology bias

- Complements DINOv2

- Useful for cross-checking modality structure

### 7.3 Weak Modality Classifier

Instead of forcing:

modality = CT

Use:

{"CT": 0.52, "MRI": 0.41, "US": 0.07}

## 8. Recommended Profiling Stack for BioDataMine

### Representation Layer

- DINOv2 embeddings (structure discovery)

- RadImageNet CNN embeddings (radiology prior)

### Inference Layer

- Lightweight linear classifier

- Probability outputs

- Conservative thresholds

### Dataset Summary Layer

Example output:

{
  "modalities": {
    "Ultrasound": {"percent": 63, "confidence": 0.91},
    "X-ray": {"percent": 22, "confidence": 0.95},
    "Unknown": {"percent": 15}
  },
  "mixed_modality": true,
  "outliers": 127
}

## 9. Architectural Fit with BioDataMine

Suggested module layout:

profiling/
  embeddings/
    dinov2.py
    radimagenet.py
  clustering.py
  modality_summary.py
  ood_detection.py

This aligns directly with the project mission: > “Understand your medical datasets before you train.”

## 10. Key Takeaways

- RadImageNet is best used for initialization and embeddings, not direct inference

- EfficientNet-B3 is a strong backbone for modality-aware features

- Data profiling benefits more from representations and uncertainty than hard classifiers

- Combining self-supervised and medical-pretrained models yields robust insights

This approach is extensible, explainable, and future-proof for heterogeneous medical datasets.